Buffer Policy (Revised March 2014)

6.1 Introduction

Buffers -Buffers are an essential component of stream protection and enhancement in Wilson County adjacent to waters of the state (streams, rivers, ponds, and wetlands). Lack of buffer is one of the key elements that are a cause of stream impairment that will result in significant cost to the county in the future. It is essential that we establish, protect, preserve and enhance buffers where possible for the public benefit. In the event of any conflict between or within these regulations and any other State or Federal regulation the larger buffer or more stringent requirement shall apply. Buffers shall be measured perpendicular to and from the top of bank, meaning the highest elevation of land which confines water flowing in a stream to the channel.

Buildings – All buildings proposed adjacent to a buffer shall provide adequate space between the edge of building and the buffer to allow for normal construction practices without disturbance to the buffer.

6.2 Width

Permanent undisturbed buffer widths shall be as follows:

- Streams draining less than one square mile watershed –  30 ft.

- Streams draining one square mile or greater watershed - 60 ft.

- Exceptional TN Waters (as shown on TDEC’s online tool) – 60 ft.

- Wetlands – 30 ft. from delineated edge of any wetland

- Lakes or ponds -60 ft. from normal water contour or 30 ft. if less than one square mile watershed.

- Sinkholes – 30 ft.

Averaging Provisions – These widths can be applied during construction activity as an average within the property being developed as long as they meet minimum state requirements.

6.3 Preservation

Buffers wherever possible shall be located in dedicated open space maintained by a Homeowners Association (HOA), established in accordance with the Wilson County Zoning Ordinance.  They shall be clearly marked and noted on recorded plats.

Buffers shall be part of the recorded “Maintenance Agreement” for Stormwater Facilities with all maintenance to be the responsibility of the HOA or lot owner.

It is desirable that in all other situations, the buffers shall be located on one large lot with the lot owner responsible for maintenance or with some other special provisions to ensure long term maintenance as approved by the Urban Type Facilities Board (UTFB).

During construction the buffer shall be included in those areas to be labeled as undisturbed on the plans that must also be clearly marked in the field. Any silt fence placed adjacent to a buffer shall be wire backed.

6.4 Maintenance

Maintenance shall be limited to removing dead or diseased plant material, repairing erosion problems, cleanup projects with Stormwater Department approval, or removal of invasive plants. Woody vegetation shall be removed by hand. Vegetative root systems shall be left intact to hold the soil. Stumps shall remain where dead or diseased trees are cut.

6.5 Tree Replacement

Major subdivision (five (5) or more lots) must meet Wilson County Subdivision Regulation requirements for tree replacement within a 25 foot from top of bank special riparian buffer zone.

6.6 Uses in the Buffer Permissible with Conditions

Table 6-3 in Metro’s Stormwater Management Manual Volume 1-Regulations (Volume 1) shall be used as the Wilson County guide with the elimination of  the Drainageway Improvements line, removal of Metro’s Zones, and replacing MWS with the Wilson County Stormwater Department. Any uses not in the referenced Table 6-3 must obtain a variance.

6.7 Buffer Rehabilitation and Enhancement Plan

Buffer restoration and/or enhancement are required when a buffer is disturbed without approval or as a condition to a buffer variance granted by Wilson County.  A property owner or developer may choose to enhance a buffer to improve its undisturbed native forest condition. Prior to starting any work the plan must be submitted to and approved by the Stormwater Department.

Buffer rehabilitation and/or enhancement plans must include the following:

- A drawing or plan that shows the location of the buffer in relation to the existing or planned development; the disturbance limits for the buffer plan; direction of runoff flow and stream flow; erosion prevention and sediment control measures; any existing or proposed stream crossings (must be minimum needed to access property); existing or proposed streambank stabilization measures; access to a water source for the purposes of watering vegetation; and other pertinent information.  The plan must be stamped by an experienced stream restoration landscape architect or prepared by a qualified experienced stream restoration expert approved by the Stormwater Department.

- Visual and /or narrative documents that describe the vegetation plan for the buffer. The buffer must be planted with native trees, shrubs, and grasses that will not be mowed. (Reference TVA native plant finder or TN Exotic Pest Plant Council’s Landscaping in Middle TN web sites or the Natural Resources Conservation Service office.)

- The schedule when plantings will occur and the acceptable two year survival rate for those plantings.

- A two year survival guarantee acceptable to the Stormwater Department.

6.8 Variances

Variances may be considered in hardship cases. The request cannot be based solely on the difficulty or cost to the project, but must include other multiple site specific issues such as; type of project, existing land use, physical conditions and other reasons for the hardship. Variance requests shall be submitted in writing to the Stormwater Director and heard before the UTFB.

The basis for approval of any variance shall be hardship conditions. For significant variances, a site specific “Rehabilitation and Enhancement Plan” approved by the Wilson County Stormwater Department for the entire buffer on the property will be required. Only the minimum necessary variance shall be granted.

Variances may be considered for reducing widths to less than the State minimum buffers based on the following conditions:

- Existing land uses as of June 17, 2013 that are proposed to remain in place limited to buildings, parking lots, roadways, utility lines and on site sanitary sewage systems. Only the portion of the required buffer that contains the footprint of the existing uses can be considered, along with activities necessary to maintain uses provided no additional vegetation is removed.

- Existing lots of record or property with vested development rights as of June 17, 2013 where a reasonable building site, including subsurface sewage disposal system areas, is not available anywhere on the lot outside the buffer, due to the shape and or size of the lot or a topographic hardship.  The topographic hardship will be considered where the potential damage to the environment to create a reasonable building site is potentially greater than the impact of the buffer variance.

- An approved unexpired preliminary plat, PUD Master Development plan, final plat, or site plan that met previous buffer requirements at the time of approval which was approved prior to June 17, 2013.

- The existing land use in the watershed.

- Site specific hardships which may include soils needed for a subsurface sewage disposal system.